## Hoja1
Memory Type | Data Type | Address | Zone | Name | Contact Type | Power
Input | Bool | 0 | A | Light Switch 1 | NO | 0
Input | Bool | 1 | A | Light Switch 2 | NO | 0
Input | Bool | 2 | A | Light Switch 3 | NO | 0
Input | Bool | 3 | A | Up/Down Switch 1 (Up) | NO | 0
Input | Bool | 4 | A | Up/Down Switch 1 (Down) | NO | 0
Input | Bool | 5 | A | Up/Down Switch 2 (Up) | NO | 0
Input | Bool | 6 | A | Up/Down Switch 2 (Down) | NO | 0
Input | Bool | 7 | A | Light Switch Dimmer 1 (Up) | NO | 0
Input | Bool | 8 | A | Light Switch Dimmer 1 (Down) | NO | 0
Input | Bool | 9 | A | Light Switch Dimmer 2 (Up) | NO | 0
Input | Bool | 10 | A | Light Switch Dimmer 2 (Down) | NO | 0
Input | Bool | 11 | A | Light Switch Dimmer 3 (Up) | NO | 0
Input | Bool | 12 | A | Light Switch Dimmer 3 (Down) | NO | 0
Input | Bool | 13 | A | Door Detector 1 | NO | 0
Input | Bool | 14 | A | Door Detector 2 | NO | 0
Input | Bool | 15 | A | Motion Detector | NO | 0
Input | Bool | 16 | A | Brightness Sensor | NC | 0
Input | Bool | 17 | A | Smoke Detector | NO | 0
Input | Bool | 27 | B | Light Switch 1 | NO | 0
Input | Bool | 28 | B | Light Switch 2 | NO | 0
Input | Bool | 29 | B | Motion Detector | NO | 0
Input | Bool | 39 | C | Light Switch | NO | 0
Input | Bool | 49 | D | Up/Down Switch (Up) | NO | 0
Input | Bool | 50 | D | Up/Down Switch (Down) | NO | 0
Input | Bool | 51 | D | Light Switch Dimmer 1 (Up) | NO | 0
Input | Bool | 52 | D | Light Switch Dimmer 1 (Down) | NO | 0
Input | Bool | 53 | D | Light Switch Dimmer 2 (Up) | NO | 0
Input | Bool | 54 | D | Light Switch Dimmer 2 (Down) | NO | 0
Input | Bool | 55 | D | Door Detector | NO | 0
Input | Bool | 56 | D | Motion Detector | NO | 0
Input | Bool | 57 | D | Brightness Sensor | NC | 0
Input | Bool | 67 | E | Light Switch 1 | NO | 0
Input | Bool | 68 | E | Light Switch 2 | NO | 0
Input | Bool | 69 | E | Light Switch 3 | NO | 0
Input | Bool | 70 | E | Light Switch 4 | NO | 0
Input | Bool | 71 | E | Light Switch 5 | NO | 0
Input | Bool | 72 | E | Up/Down Switch (Up) | NO | 0
Input | Bool | 73 | E | Up/Down Switch (Down) | NO | 0
Input | Bool | 74 | E | Light Switch Dimmer 1 (Up) | NO | 0
Input | Bool | 75 | E | Light Switch Dimmer 1 (Down) | NO | 0
Input | Bool | 76 | E | Light Switch Dimmer 2 (Up) | NO | 0
Input | Bool | 77 | E | Light Switch Dimmer 2 (Down) | NO | 0
Input | Bool | 78 | E | Door Detector 1 | NO | 0
Input | Bool | 79 | E | Door Detector 2 | NO | 0
Input | Bool | 80 | E | Motion Detector | NO | 0
Input | Bool | 81 | E | Brightness Sensor | NC | 0
Input | Bool | 82 | E | Alarm Key Pad (Armed) | NO | 0
Input | Bool | 92 | F | Light Switch 1 | NO | 0
Input | Bool | 93 | F | Light Switch 2 | NO | 0
Input | Bool | 94 | F | Up/Down Switch 1 (Up) | NO | 0
Input | Bool | 95 | F | Up/Down Switch 1 (Down) | NO | 0
Input | Bool | 96 | F | Up/Down Switch 2 (Up) | NO | 0
Input | Bool | 97 | F | Up/Down Switch 2 (Down) | NO | 0
Input | Bool | 98 | F | Motion Detector | NO | 0
Input | Bool | 99 | F | Brightness Sensor | NO | 0
Input | Bool | 100 | F | Garage Door (Opened) | NO | 0
Input | Bool | 101 | F | Garage Door (Closed) | NO | 0
Input | Bool | 102 | F | Garage Door (Infrared) | NO | 0
Input | Bool | 112 | G | Light Switch 1 | NO | 0
Input | Bool | 113 | G | Light Switch 2 | NO | 0
Input | Bool | 114 | G | Light Switch 3 | NO | 0
Input | Bool | 115 | G | Light Switch 4 | NO | 0
Input | Bool | 116 | G | Light Switch 5 | NO | 0
Input | Bool | 117 | G | Up/Down Switch (Up) | NO | 0
Input | Bool | 118 | G | Up/Down Switch (Down) | NO | 0
Input | Bool | 119 | G | Motion Detector | NO | 0
Input | Bool | 120 | G | Smoke Detector | NO | 0
Input | Bool | 130 | H | Light Switch 1 | NO | 0
Input | Bool | 131 | H | Light Switch 2 | NO | 0
Input | Bool | 132 | H | Up/Down Switch (Up) | NO | 0
Input | Bool | 133 | H | Up/Down Switch (Down) | NO | 0
Input | Bool | 134 | H | Light Switch Dimmer (Up) | NO | 0
Input | Bool | 135 | H | Light Switch Dimmer (Down) | NO | 0
Input | Bool | 136 | H | Door Detector 1 | NO | 0
Input | Bool | 137 | H | Door Detector 2 | NO | 0
Input | Bool | 138 | H | Motion Detector | NO | 0
Input | Bool | 139 | H | Brightness Sensor | NC | 0
Input | Bool | 140 | H | Smoke Detector | NO | 0
Input | Bool | 150 | I | Light Switch | NO | 0
Input | Bool | 151 | I | Light Switch Dimmer (Up) | NO | 0
Input | Bool | 152 | I | Light Switch Dimmer (Down) | NO | 0
Input | Bool | 153 | I | Motion Detector | NO | 0
Input | Bool | 163 | J | Light Switch 1 | NO | 0
Input | Bool | 164 | J | Light Switch 2 | NO | 0
Input | Bool | 165 | J | Up/Down Switch (Up) | NO | 0
Input | Bool | 166 | J | Up/Down Switch (Down) | NO | 0
Input | Bool | 167 | J | Light Switch Dimmer (Up) | NO | 0
Input | Bool | 168 | J | Light Switch Dimmer (Down) | NO | 0
Input | Bool | 169 | J | Door Detector 1 | NO | 0
Input | Bool | 170 | J | Door Detector 2 | NO | 0
Input | Bool | 171 | J | Motion Detector | NO | 0
Input | Bool | 172 | J | Brightness Sensor | NC | 0
Input | Bool | 173 | J | Smoke Detector | NO | 0
Input | Bool | 183 | K | Light Switch Dimmer (Up) | NO | 0
Input | Bool | 184 | K | Light Switch Dimmer (Down) | NO | 0
Input | Bool | 185 | K | Motion Detector | NO | 0
Input | Bool | 195 | L | Light Switch 1 | NO | 0
Input | Bool | 196 | L | Light Switch 2 | NO | 0
Input | Bool | 197 | L | Up/Down Switch (Up) | NO | 0
Input | Bool | 198 | L | Up/Down Switch (Down) | NO | 0
Input | Bool | 199 | L | Light Switch Dimmer 1 (Up) | NO | 0
Input | Bool | 200 | L | Light Switch Dimmer 1 (Down) | NO | 0
Input | Bool | 201 | L | Light Switch Dimmer 2 (Up) | NO | 0
Input | Bool | 202 | L | Light Switch Dimmer 2 (Down) | NO | 0
Input | Bool | 203 | L | Door Detector 1 | NO | 0
Input | Bool | 204 | L | Door Detector 2 | NO | 0
Input | Bool | 205 | L | Motion Detector | NO | 0
Input | Bool | 206 | L | Brightness Sensor | NC | 0
Input | Bool | 207 | L | Smoke Detector | NO | 0
Input | Bool | 217 | M | Light Switch | NO | 0
Input | Bool | 218 | M | Up/Down Switch (Up) | NO | 0
Input | Bool | 219 | M | Up/Down Switch (Down) | NO | 0
Input | Bool | 220 | M | Door Detector 1 | NO | 0
Input | Bool | 221 | M | Door Detector 2 | NO | 0
Input | Bool | 222 | M | Motion Detector | NO | 0
Input | Bool | 223 | M | Brightness Sensor | NC | 0
Input | Bool | 233 | N | Light Switch 1 | NO | 0
Input | Bool | 234 | N | Light Switch 2 | NO | 0
Input | Bool | 235 | N | Light Switch 3 | NO | 0
Input | Bool | 236 | N | Light Switch Dimmer 1 (Up) | NO | 0
Input | Bool | 237 | N | Light Switch Dimmer 1 (Down) | NO | 0
Input | Bool | 238 | N | Light Switch Dimmer 2 (Up) | NO | 0
Input | Bool | 239 | N | Light Switch Dimmer 2 (Down) | NO | 0
Input | Bool | 240 | N | Light Switch Dimmer 3 (Up) | NO | 0
Input | Bool | 241 | N | Light Switch Dimmer 3 (Down) | NO | 0
Input | Bool | 242 | N | Up/Down Switch (Up) | NO | 0
Input | Bool | 243 | N | Up/Down Switch (Down) | NO | 0
Input | Bool | 244 | N | Door Detector 1 | NO | 0
Input | Bool | 245 | N | Door Detector 2 | NO | 0
Input | Bool | 246 | N | Motion Detector | NO | 0
Input | Bool | 247 | N | Brightness Sensor | NC | 0
Input | Bool | 248 | N | Smoke Detector | NO | 0
Input | Bool | 258 | O | Motion Detector | NO | 0
Input | Bool | 259 | O | Brightness Sensor | NC | 0
Input | Bool | 260 | O | Entrance Gate (Opened) | NO | 0
Input | Bool | 261 | O | Entrance Gate (Closed) | NO | 0
Input | Bool | 262 | O | Entrance Gate (Infrared 1) | NO | 0
Input | Bool | 263 | O | Entrance Gate (Infrared 2) | NO | 0
Input | Bool | 264 | O | Entrance Gate (Infrared 3) | NO | 0
Input | Bool | 274 | - | Remote Button 1 | NO | 0
Input | Bool | 275 | - | Remote Button 2 | NO | 0
Input | Bool | 276 | - | Remote Button 3 | NO | 0
Input | Bool | 277 | - | Remote Button 4 | NO | 0
Input | Bool | 278 | - | Remote Button 5 | NO | 0
Input | Bool | 279 | - | Remote Button 6 | NO | 0
Input | Bool | 280 | - | Remote Button 7 | NO | 0
Input | Bool | 281 | - | Remote Button 8 | NO | 0
Input | Float | 0 | A | Brightness Sensor (Analogue) | - | 0
Input | Float | 1 | A | Thermostat (Room Temperature) | - | 0
Input | Float | 2 | A | Thermostat (Set Point) | - | 0
Input | Float | 3 | A | Roller Shades (Openness) | - | 0
Input | Float | 4 | A | Roller Shades (Openness) | - | 0
Input | Float | 5 | A | Roller Shades (Openness) | - | 0
Input | Float | 6 | A | Roller Shades (Openness) | - | 0
Input | Float | 12 | D | Brightness Sensor (Analogue) | - | 0
Input | Float | 13 | D | Thermostat (Room Temperature) | - | 0
Input | Float | 14 | D | Thermostat (Set Point) | - | 0
Input | Float | 15 | D | Roller Shades (Openness) | - | 0
Input | Float | 24 | E | Brightness Sensor (Analogue) | - | 0
Input | Float | 25 | E | Thermostat (Room Temperature) | - | 0
Input | Float | 26 | E | Thermostat (Set Point) | - | 0
Input | Float | 27 | E | Roller Shades (Openness) | - | 0
Input | Float | 36 | F | Brightness Sensor (Analogue) | - | 0
Input | Float | 37 | F | Roller Shades (Openness) | - | 0
Input | Float | 46 | G | Thermostat (Room Temperature) | - | 0
Input | Float | 47 | G | Thermostat (Set Point) | - | 0
Input | Float | 48 | G | Roller Shades (Openness) | - | 0
Input | Float | 57 | H | Brightness Sensor (Analogue) | - | 0
Input | Float | 58 | H | Thermostat (Room Temperature) | - | 0
Input | Float | 59 | H | Thermostat (Set Point) | - | 0
Input | Float | 60 | H | Roller Shades (Openness) | - | 0
Input | Float | 69 | I | Thermostat (Room Temperature) | - | 0
Input | Float | 70 | I | Thermostat (Set Point) | - | 0
Input | Float | 80 | J | Brightness Sensor (Analogue) | - | 0
Input | Float | 81 | J | Thermostat (Room Temperature) | - | 0
Input | Float | 82 | J | Thermostat (Set Point) | - | 0
Input | Float | 83 | J | Roller Shades (Openness) | - | 0
Input | Float | 92 | K | Thermostat (Room Temperature) | - | 0
Input | Float | 93 | K | Thermostat (Set Point) | - | 0
Input | Float | 103 | L | Brightness Sensor (Analogue) | - | 0
Input | Float | 104 | L | Thermostat (Room Temperature) | - | 0
Input | Float | 105 | L | Thermostat (Set Point) | - | 0
Input | Float | 106 | L | Roller Shades (Openness) | - | 0
Input | Float | 115 | M | Brightness Sensor (Analogue) | - | 0
Input | Float | 116 | M | Thermostat (Room Temperature) | - | 0
Input | Float | 117 | M | Thermostat (Set Point) | - | 0
Input | Float | 118 | M | Roller Shades (Openness) | - | 0
Input | Float | 127 | N | Brightness Sensor (Analogue) | - | 0
Input | Float | 128 | N | Thermostat (Room Temperature) | - | 0
Input | Float | 129 | N | Thermostat (Set Point) | - | 0
Input | Float | 130 | N | Roller Shades (Openness) | - | 0
Input | Float | 139 | O | Brightness Sensor (Analogue) | - | 0
Input | DateTime | 0 | - | Date and Time | - | 0
Output | Bool | 0 | A | Lights | - | 60
Output | Float | 0 | A | Lights (Analogue) | - | 60
Output | Bool | 1 | A | Roller Shades 1 (Up) | - | 10
Output | Float | 1 | A | Heater (Analogue) | - | 2000
Output | Bool | 2 | A | Roller Shades 1 (Down) | - | 10
Output | Bool | 3 | A | Roller Shades 2 (Up) | - | 10
Output | Bool | 4 | A | Roller Shades 2 (Down) | - | 10
Output | Bool | 5 | A | Roller Shades 3 (Up) | - | 10
Output | Bool | 6 | A | Roller Shades 3 (Down) | - | 10
Output | Bool | 7 | A | Roller Shades 4 (Up) | - | 10
Output | Bool | 8 | A | Roller Shades 4 (Down) | - | 10
Output | Bool | 9 | A | Heater | - | 2000
Output | Float | 11 | B | Lights 1 (Analogue) | - | 10
Output | Float | 12 | B | Lights 2 (Analogue) | - | 10
Output | Bool | 19 | B | Lights 1 | - | 10
Output | Bool | 20 | B | Lights 2 | - | 10
Output | Float | 22 | C | Lights (Analogue) | - | 10
Output | Bool | 30 | C | Lights | - | 10
Output | Float | 32 | D | Lights 1 (Analogue) | - | 60
Output | Float | 33 | D | Lights 2 (Analogue) | - | 30
Output | Float | 34 | D | Heater (Analogue) | - | 1500
Output | Bool | 40 | D | Lights 1 | - | 60
Output | Bool | 41 | D | Lights 2 | - | 30
Output | Bool | 42 | D | Roller Shades (Up) | - | 10
Output | Bool | 43 | D | Roller Shades (Down) | - | 10
Output | Bool | 44 | D | Heater | - | 1500
Output | Float | 44 | E | Lights (Analogue) | - | 60
Output | Float | 45 | E | Heater (Analogue) | - | 1750
Output | Bool | 54 | E | Lights | - | 60
Output | Bool | 55 | E | Roller Shades (Up) | - | 10
Output | Float | 55 | F | Lights 1 (Analogue) | - | 10
Output | Bool | 56 | E | Roller Shades (Down) | - | 10
Output | Float | 56 | F | Lights 2 (Analogue) | - | 120
Output | Bool | 57 | E | Heater | - | 1750
Output | Bool | 58 | E | Siren | - | 0
Output | Bool | 59 | E | Alarm Key Pad (Arm) | - | 0
Output | Bool | 60 | E | Alarm Key Pad (Disarm) | - | 0
Output | Float | 66 | G | Lights (Analogue) | - | 50
Output | Float | 67 | G | Heater 1 (Analogue) | - | 750
Output | Bool | 68 | F | Lights 1 | - | 10
Output | Float | 68 | G | Heater 2 (Analogue) | - | 750
Output | Bool | 69 | F | Lights 2 | - | 120
Output | Bool | 70 | F | Roller Shades (Up) | - | 10
Output | Bool | 71 | F | Roller Shades (Down) | - | 10
Output | Bool | 72 | F | Garage Door (Open) | - | 1000
Output | Bool | 73 | F | Garage Door (Close) | - | 1000
Output | Float | 78 | H | Lights (Analogue) | - | 40
Output | Float | 79 | H | Heater (Analogue) | - | 1000
Output | Bool | 83 | G | Lights | - | 50
Output | Bool | 84 | G | Roller Shades (Up) | - | 10
Output | Bool | 85 | G | Roller Shades (Down) | - | 10
Output | Bool | 86 | G | Heater 1 | - | 750
Output | Bool | 87 | G | Heater 2 | - | 750
Output | Float | 89 | I | Lights 1 (Analogue) | - | 10
Output | Float | 90 | I | Lights 2 (Analogue) | - | 10
Output | Float | 91 | I | Heater (Analogue) | - | 750
Output | Bool | 97 | H | Lights | - | 40
Output | Bool | 98 | H | Roller Shades (Up) | - | 10
Output | Bool | 99 | H | Roller Shades (Down) | - | 10
Output | Bool | 100 | H | Heater | - | 1000
Output | Float | 101 | J | Lights (Analogue) | - | 40
Output | Float | 102 | J | Heater (Analogue) | - | 750
Output | Bool | 110 | I | Lights 1 | - | 10
Output | Bool | 111 | I | Lights 2 | - | 10
Output | Bool | 112 | I | Heater | - | 750
Output | Float | 112 | K | Lights (Analogue) | - | 20
Output | Float | 113 | K | Heater (Analogue) | - | 1000
Output | Bool | 122 | J | Lights | - | 40
Output | Bool | 123 | J | Roller Shades (Up) | - | 10
Output | Float | 123 | L | Lights (Analogue) | - | 40
Output | Bool | 124 | J | Roller Shades (Down) | - | 10
Output | Float | 124 | L | Heater (Analogue) | - | 750
Output | Bool | 125 | J | Heater | - | 750
Output | Float | 134 | M | Lights (Analogue) | - | 10
Output | Bool | 135 | K | Lights | - | 20
Output | Float | 135 | M | Heater (Analogue) | - | 500
Output | Bool | 136 | K | Heater | - | 1000
Output | Float | 145 | N | Lights 1 (Analogue) | - | 90
Output | Bool | 146 | L | Lights | - | 40
Output | Float | 146 | N | Lights 2 (Analogue) | - | 30
Output | Bool | 147 | L | Roller Shades (Up) | - | 10
Output | Float | 147 | N | Lights 3 (Analogue) | - | 30
Output | Bool | 148 | L | Roller Shades (Down) | - | 10
Output | Float | 148 | N | Heater (Analogue) | - | 1500
Output | Bool | 149 | L | Heater | - | 750
Output | Float | 158 | O | Lights Porch 1 (Analogue) | - | 60
Output | Bool | 159 | M | Lights | - | 10
Output | Float | 159 | O | Lights Porch 2 (Analogue) | - | 80
Output | Bool | 160 | M | Roller Shades (Up) | - | 10
Output | Float | 160 | O | Lights Pool (Analogue) | - | 160
Output | Bool | 161 | M | Roller Shades (Down) | - | 10
Output | Float | 161 | O | Lights Garden (Analogue) | - | 40
Output | Bool | 162 | M | Heater | - | 500
Output | Float | 162 | O | Lights Entrance (Analogue) | - | 10
Output | Bool | 172 | N | Lights 1 | - | 90
Output | Bool | 173 | N | Lights 2 | - | 30
Output | Bool | 174 | N | Lights 3 | - | 30
Output | Bool | 175 | N | Roller Shades (Up) | - | 10
Output | Bool | 176 | N | Roller Shades (Down) | - | 10
Output | Bool | 177 | N | Heater | - | 1500
Output | Bool | 187 | O | Lights Porch 1 | - | 60
Output | Bool | 188 | O | Lights Porch 2 | - | 80
Output | Bool | 189 | O | Lights Pool | - | 160
Output | Bool | 190 | O | Lights Garden | - | 40
Output | Bool | 191 | O | Lights Entrance | - | 10
Output | Bool | 192 | O | Siren | - | 0
Output | Bool | 193 | O | Entrance Gate (Open) | - | 1000
Output | Bool | 194 | O | Entrance Gate (Close) | - | 1000
Memory | Bool | 256 | - | Using DLST | - | 0
Memory | Float | 129 | - | Time Scalev | - | 0
Memory | Float | 130 | - | Latitude | - | 0
Memory | Float | 131 | - | Longitude | - | 0
Memory | Float | 132 | - | Air Temperature [K] | - | 0
Memory | Float | 133 | - | Relative Humidity | - | 0
Memory | Float | 134 | - | Minimum Air Temperature [K] | - | 0
Memory | Float | 135 | - | Maximum Air Temperature [K] | - | 0
Memory | Float | 136 | - | Dew Point Temperature [K] | - | 0
Memory | Float | 137 | - | Wind Speed [m/s] | - | 0
Memory | Float | 138 | - | Cloudiness | - | 0
Memory | Float | 139 | - | Sun Zenith | - | 0
Memory | Float | 140 | - | Sun Azimuth | - | 0
Memory | Float | 141 | - | Instant Power [w] | - | 0
Memory | Float | 142 | - | Current Hour Energy Consumption [J] | - | 0
Memory | Float | 143 | - | Current Day Energy Consumption [J] | - | 0
Memory | Float | 144 | - | Current Week Energy Consumption [J] | - | 0
Memory | Float | 145 | - | Current Month Energy Consumption [J] | - | 0
Memory | Float | 146 | - | Last Hour Energy Consumption [J] | - | 0
Memory | Float | 147 | - | Last Day Energy Consumption [J] | - | 0
Memory | Float | 148 | - | Last Week Energy Consumption [J] | - | 0
Memory | Float | 149 | - | Last Month Energy Consumption [J] | - | 0
Memory | Float | 150 | A | Temperature [K] | - | 0
Memory | Float | 151 | B | Temperature [K] | - | 0
Memory | Float | 152 | C | Temperature [K] | - | 0
Memory | Float | 153 | D | Temperature [K] | - | 0
Memory | Float | 154 | E | Temperature [K] | - | 0
Memory | Float | 155 | F | Temperature [K] | - | 0
Memory | Float | 156 | G | Temperature [K] | - | 0
Memory | Float | 157 | H | Temperature [K] | - | 0
Memory | Float | 158 | I | Temperature [K] | - | 0
Memory | Float | 159 | J | Temperature [K] | - | 0
Memory | Float | 160 | K | Temperature [K] | - | 0
Memory | Float | 161 | L | Temperature [K] | - | 0
Memory | Float | 162 | M | Temperature [K] | - | 0
Memory | Float | 163 | N | Temperature [K] | - | 0
Memory | DateTime | 65 | - | Date And Time | - | 0